## Sheet1
Signal name | Type | Address | Purpose
Start button | DI | A/1 | Manual system startup
Stop button | DI | A/2 | Manual system shutdown
Emergency stop | DI | A/3 | Emergency stop
Inlet temperature sensor | AI | A/4 | Temperature measurement before the heat exchanger
Output temperature sensor | AI | A/5 | Temperature measurement after the heat exchanger
Pressure sensor | AI | A/6 | Pressure control in the circuit
Level sensor | DI | A/7 | Coolant level control
Feedback from pump 1 | DI | A/8 | Pump status monitoring 1
Feedback from pump 2 | DI | A/9 | Pump status monitoring 2 (reserve)
Command for pump 1 | DO | Q/1 | Switching on the main pump
Command to pump 2 (reserve) | DO | Q/2 | Activation of the backup pump
Valve control | AO | Q/3 | Ventilation position adjustment
Alarm 'Failure' | DO | Q/4 | Activation of emergency alarm
Signal lamp 'Operation' | DO | Q/5 | Indication of normal operation
Reserve indicator lamp | DO | Q/6 | Indication of backup pump operation